01.1b		Access audit form

| ## Checked Area | Evident |  | Comments/Action i.e. further risk assessment to be undertaken |
| --- | --- | --- | --- |
| ###### Approach to the building | Yes | No |  |
| Are there disabled parking facilities? | x |  |  |
| Are kerbs lowered? | x |  |  |
| Is the entrance gate wide enough for wheelchair users? | x |  |  |
| Are there orientation landmarks for visual impairment? | x |  |  |
| Is the route clearly signed? | x |  |  |
| Are support rails/resting platforms provided on inclines? | x |  |  |
| Are all surface coverings, even and non-slip? | x |  |  |
| Are pathways clear of obstructions? | x |  |  |
| Are all areas adequately lit? | x |  |  |
| Do steps and handrails accompany ramps? | x |  |  |
| Are steps suitable and highlighted for differentiation? | x |  |  |
| Are resting platforms available and highlighted? | x |  |  |
| Is there adequate lighting at the front and on the route to the building? | x |  |  |
| ##### Entrances | Yes | No |  |
| Is there an entry phone and/or a doorbell and is at a reasonable height for wheelchair users? |  | x |  |
| Is there a level or flush threshold? | x |  |  |
| Are doors easy to open and doorways wide enough for all users to pass through and clear door swing? | x |  |  |
| Are glazed doors marked for safety/visibility? | x |  |  |
| Door close mechanism appropriately adjusted (to ensure they do not close too quickly)? | x |  |  |
| Door control (handle/knob) at a suitable height/clearly located and easy to use? | x |  |  |
| Information on welcome board in a range of formats and at an appropriate height to suit varying needs? | x |  |  |
| Is the entrance signposted and easy to find? | x |  |  |
| Is the route to the destination clearly marked? | x |  |  |
| If applicable, is the doormat in a good condition and flush with floor? | x |  |  |
| If an induction loop is fitted, is it working? |  |  | None |
| Can people either side of the door be seen? | x |  |  |
| Are surfaces non-slip? | x |  |  |
| Is lighting adequate? | x |  |  |
| ###### Inside the building | Yes | No |  |
| Are all floor surfaces suitable? | x |  |  |
| Are the acoustics of the building suitable for adults with hearing impairments? | x |  |  |
| Are there colour and tonal contrast to help distinguish fixtures and fittings from surfaces, walls and floors? | x |  |  |
| Is there a disabled WC facility no further than one floor away from the room being used? | x |  |  |
| Handrails available at varying heights in the WC? | x |  |  |
| Support rails available in relevant areas? | x |  |  |
| Is the environment free from unnecessary noise? | x |  |  |
| Audible, manual and mechanical alarm systems supplemented with visual and verbal warnings? | x |  |  |
| Are all areas in the building wide enough for adults using mobility equipment to manoeuvre? | x |  |  |
| Internal lobbies/doorways sufficient for manoeuvring? | x |  |  |
| Fittings fixed without dangerous edges? | x |  |  |
| Control of natural/artificial light to avoid glare/silhouettes and is lighting adequate? | x |  |  |
| Clutter-free travel routes (coats, bags on floor) | x |  |  |
| Door control (handle) suitable height/clearly located and easy to use? | x |  |  |