02.1a	 Fire safety risk assessment form

| Risk Area – Village hall |  | Carried out by – Preschool Staff |  | Date – Sept 26 |
| --- | --- | --- | --- | --- |
| Fire Hazards: Examples: Ignition; fuel; oxygen | Who is at risk People on premises and those most vulnerable | Level of risk of fire occurring and the risk to people | Control measure Remove and reduce hazards that may cause fire; Remove and reduce risks to people | Review Record, plan, inform, instruct, train and review |
| Fire by naked flame | Children and Adults | Likelihood low Severity very high | No naked flames used No gas present Fire exits clearly signposted Fire exits kept clear and accessible Fire evacuation drill practiced – all staff involved Fire equipment available (extinguishers, fire blanket) Ensure waste is not allowed to accumulate – bins emptied every evening Site is no smoking Fire marshall trained in fire safety and basic training passed on to all staff Fire extinguishers serviced annually – arranged by Village hall committee Smoke detectors checked by Village hall Committee If matches present then these are shut away in a drawer |  |
| Electrical Faults | Children and Adults | Likelihood low Severity high | Correct use of fuses Faults reported to village hall All equipment PAT tested yearly Cookers are shut off at the mains each afternoon and when not in use |  |
| Electrical items – use & maintenance - Tablets, torches, remote controlled items, light boxes | Children and Adults | Likelihood Low Severity Moderate | Staff to supervise children at all times with electrical/battery operated equipment Staff to report any faulty item Staff to ensure any chargers are intact and not broken/damaged Staff to ensure no water or liquids are near any plug points or extension leads Leads are tucked away and never trailing |  |
| Burning food when cooking | Children and Adults | Likelihood low Severity high | Staff member to ensure the oven is checked every 10 minutes to prevent burning |  |
| Possible fire hazard material Wastepaper, chemical, cleaning products, general waste, excess furniture, stationery, art materials, paint, glue, | Children and Adults | Likelihood low Severity high | Chemicals/cleaning products locked in cupboard in original containers Wastepaper removed daily away from building Stationery & craft items kept in locked cupboard See control measures under ‘Fire by naked flame’ |  |